## ROI Tool (hidden)
ROI Tools
User Inputs |  | Model Inputs |  | Tax Districts | Tax Rate | Notes
Historical/Anticipated Annual Energy Usage (kWH) | 12000 | Energy Usage Rate ($/kWh) | 0.1256 | Archuleta County | 0
Anticipated Annual Energy Production from Solar PV System (kWh) | 13000 | Peak Power Charge ($/kW) | 1.5 | City of Durango | 0.055 | Includes La Plata County tax of 2% and City of Durango at 3.5%
|  | Base Charge ($/month) | 21.5 | Hinsdale County | 0
Cost of System Before Tax Credits, Incentives or Rebates | 20000 | Monthly Usage to Peak Power Factor | 1% | La Plata County | 0.02
Where in LPEA's Service Territory do you live? | City of Durango | LPEA Wholesale Electricity Cost | 0.04 | Mineral County | 0
|  | Anticipated Annual Escalation in Electricity Rates |  | San Juan County | 0
Outputs |  |  |  | Town of Bayfield | 0
Federal Tax Credit *Verify eligibility with tax professional | 6000 |  |  | Town of Pagosa Springs | 0
Initial system cost | 14000
Typical Monthly Bill with Solar
Base Charge | 21.5
Energy Usage | 0
Peak Power Charge | 15
Taxes & Fees | 2.0075
Total | 38.5075
Annual Energy Usage Savings | 1632.8
Annual Taxes & Fees Savings | 89.804
Annual Compensation for Excess Production | 40
Total Annual Savings | 1722.604
Break-even Payback Period (years) | 8.1272
25 year Lifetime Savings | 29065.1
25 year Return on Investment (%) | 207.6%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Do we want separate experiences for financed vs. upfront cash purchases?
Note on G8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Should this be a user input or coded in?
Note on A15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Could also produce typical monthly bill without solar for comparison.

## New Construction-Sizing editing
LPEA New Home Electricity Usage Estimating Tool
Instructions: Fill in the highlighted yellow boxes with your information. The blue highlighted boxes are your estimated annual electricity usage. Click on the yellow boxes to see an explanation of the required information.
| Member Supplied New Home Information |  |  | 100% of Estimated Annual Electricity Usage
| Size of home (sq ft) |  | 2560
| Primary heating: "electricity" or "gas" |  | Electricity
Other Significant Loads
| EV chargers for electric vehicles |  | 2 | 30723 kWh/year
| Water Heater |  | Heat pump
| Hot tub |  | Yes
| Other significant loads (kWh/yr) |  | 28
Please reference the LPEA Solar Sizing Tool to find out what size PV array would offset your energy use!
Disclaimer Statement: The information contained herein is provided as a public service with the understanding that the La Plata Electric Association makes no warranties either expressed or implied, concerning the accuracy, completeness, reliability, or suitability of the information. Nor does the La Plata Electric Association warrant that the use of this information is free of any claims of copyright infringement.
|  |  | Gas home =Jakes/Cliffs Orignal Data |  | comparison= Jakes/Cliffs data but ETS "fasle", supposedly all gas homes | Excel= model for Colorado specificly | Gas Average= all these avergages added up

## Background Info
Background information for Calculations
Calculated Other (kWh/year)
3600
| 900 | [6 empty] | Drop Down Lists
| 2500 |  |  | 100% | 150% | 100% | 150% | Type of Heating
| 28 |  | sq ft | Electric Home | Electric Home | Gas Home | Gas Home | Electricity
|  |  | 500-999 | 5.7231 | 8.5847 | 1.9919 | 2.9879 | Gas
Total (Significant Load) | 7028 |  | 1000-1499 | 7.9808 | 11.9712 | 2.8319 | 4.2478 | Toggle
|  |  | 1500-1999 | 10.2384 | 15.3577 | 3.7802 | 5.6703 | No
"Chosen" SQ FT CALC | 23694.54 |  | 2000-2499 | 12.4961 | 18.7442 | 4.566 | 6.849 | Yes
|  |  | 2500-2999 | 14.7538 | 22.1306 | 5.2509 | 7.8764 | EV Chargers
|  |  | 3000-3499 | 17.0114 | 25.5171 | 5.6613 | 8.4919 | None
Total OVERALL (PV System) | 30722.54 |  | 3500-3999 | 19.2691 | 28.9036 | 6.2267 | 9.34 | 1
|  |  | 4000-4499 | 21.5267 | 32.2901 | 6.7914 | 10.1871 | 2
Notes for LPEA: Lowest sq ft we calcualted for was 500, anything below 500 is clumped into the 500-999 group. |  |  | >4500 | 23.7844 | 35.6766 | 7.7553 | 11.6329 | 3
4
Water Heater
|  |  |  | kWh/year |  |  |  | Heat pump
|  |  |  | 100% | 150% | 100% | 150% | Electric resistance
| Electricity | Gas | sq ft | Electric Home | Electric Home | Gas Home | Gas Home | Gas
| 0 | 0 | 500-999 | 9191.34 | 13787.01 | 3199 | 4798.5
| 0 | 0 | 1000-1499 | 12817.14 | 19225.71 | 4548 | 6822
| 0 | 0 | 1500-1999 | 16442.94 | 24664.41 | 6071 | 9106.5
| 0 | 0 | 2000-2499 | 20068.74 | 30103.11 | 7333 | 10999.5
| 23694.54 | 0 | 2500-2999 | 23694.54 | 35541.81 | 8433 | 12649.5
| 0 | 0 | 3000-3499 | 27320.34 | 40980.51 | 9092 | 13638
| 0 | 0 | 3500-3999 | 30946.14 | 46419.21 | 10000 | 15000
| 0 | 0 | 4000-4499 | 34571.94 | 51857.91 | 10907 | 16360.5
| 0 | 0 | >4500 | 38197.74 | 57296.61 | 12455 | 18682.5
kWh/month for Renewable DB
Output
#REF!
kWh/month